ABC Hospital

Safe Patient Handling Staff Training Competency Checklist CEILING LIFT Training

(Competency = Performance of position responsibilities safely/effectively) (4/7/10 version)

| Key Direct Observation Verbalization Demonstration Return Demonstration by student Other (specify) | Demonstrates proficiency in: Safe use of patient handling equipment in accordance with manufacturer and vendor instructions Knowledge of ABC Safe Patient Handling program |
| --- | --- |
| How met | Initials of Reviewer | Standards |
|  |  | General | Met | Not Met |
| B |  | Identify Safe Patient Handling Superuser(s) on their unit/dept. and shift Identify content and location of SPH Resource Guide and other equipment instructions on a unit |  |  |
|  |  | Assessment and Documentation |  |  |
| B |  | Determine patient dependency Patient transfer assessment Communicating & documenting patient dependency status and patient handling equipment needs On admission Between shift During shift |  |  |
|  |  | Patient Handling Equipment |  |  |
|  |  | Ceiling Lift – Techniques can be applied to use of the Powered Floor Lift. |  |  |
| B |  | Knows location of all the Dept. ceiling lifts. |  |  |
| B |  | Demonstrates understanding that each patient should be evaluated by an RN prior to attempting to move the patient |  |  |
| B |  | Understands that if C-Spine precautions are needed, a backboard is to be utilized before using a ceiling lift |  |  |
| B |  | Understands to always use the proper sling for transfer. (If unsure user Knows who the super users are for there Dept.) |  |  |
| C/D |  | Demonstrates knowledge of set up and removal of the portable ceiling lifts motors |  |  |
| C/D |  | Properly logrolls patient side to side, and properly places sling behind them |  |  |
| C/D |  | Use of bed functions to assist with sling application and patient movement |  |  |

| How met | Initials of Reviewer | Standards |
| --- | --- | --- |
|  |  | Procedures | Met | Not Met |
| C/D |  | Properly applies, removing, and using the following: Repositioning/flat sling Seated sling Seated sling for an amputee Limb sling |  |  |
| C/D |  | Performs the following tasks: Turning patient from side to side Repositioning to head of bed Supine lateral transfer Seated transfer Lift from the floor Ambulation (Therapy only) |  |  |
| C/D |  | Use of dual lift motors to move patients over 560lbs ( Nomad ceiling lift motor) |  |  |
| B C/D |  | Slings Sizing Use for each sling type ( seated; flat/supine; limb; ambulation – PT only) Inspection before use Knowledge of proper Dept. protocol on discarding soiled lift slings Storage & Supply Single use vs. reusable |  |  |
|  |  | Procedures –Other Equipment | Met | Not Met |
| C/D |  | Powered Floor Lift – NAME OF LIFT Applying a sling Seated transfer – bed to chair & chair to chair Lift from the floor Ambulation (Therapy only) Using the Scale (if applicable) |  |  |
| C/D |  | Powered Sit to Stand NAME OF LIFT Applying the sling Transfer – bed to chair & chair to chair |  |  |
| C/D |  | Slide Tube (blue nylon slippery sheet) Applying and removing Slide Tube under patient Turning patient from side to side Repositioning to head of bed Transfer to bed or stretcher |  |  |
| C/D |  | Hovermatt or NAME OF AIRMAT transfer system Applying and removing Hovermatt under patient Transfer bed to stretcher; stretcher to bed Moving patient to head of the bed |  |  |
| C/D |  | HoverJack lift system Applying and removing HoverJack under patient Lift from floor Transfer to bed or stretcher Prep for CPR/Code |  |  |

|  |  | Procedures -General | Met | Not Met |
| --- | --- | --- | --- | --- |
| B |  | Infection control process for SPH equipment ( e.g. when moving ceiling lift motors between patient rooms) used on their unit/dept. |  |  |
| B |  | Storage of ceiling lift equipment for each unit/floor if applicable |  |  |
| B C/D |  | Equipment Care & General Use Care of batteries for ceiling lift equipment – when and how to charge Use of emergency stop control Use of emergency lowering system (ceiling and floor lifts) and Use of operational controls (ceiling, floor lifts and sit to stand lifts) Handling and use of hanger bar (ceiling and floor lifts) All safety features, e.g. brakes, maximum weight capacity; etc. Maintenance – how to contact etc |  |  |

Notes for Reviewer:

- Watch caregiver through each step of procedure.

- Stop procedure at any point when the patient or caregiver is being put at risk (i.e., use of poor body mechanics, incorrect sling application). Maintain safety for the patient at all times

- If the care giver has successfully completed the return demonstration, complete the appropriate part of this competency form. If the care giver has not successful encourage him/her to review the procedure and initiate another return demonstration.